3.23 Installation of Phase Conversion Kit (1((3()�(DKC-F310IU/IE-13U, DKC-F310IU/IE-13UP)


3.23.1 Parts list





Table 3.23-1  Parts List


No.�
Model Number�
Part Name�
Part No.�
Quantity�
Remarks�
�
1�
DKC-F310IU-13U�
Label�
3257223-1�
2�
P103-1, P103-2�
�
�
DKC-F310IU-13UP�
Label (IN)�
3228038-1�
1�
�
�
�
�
Label (CE)�
3240543-1�
1�
�
�
�
�
Dummy Plate�
5500112-1�
1�
�
�
�
�
Nameplate�
3252541-1�
1�
For DKC-F310IU-13U�
�
�
�
�
3254783-1�
�
For DKC-F310IU-13UP�
�
2�
DKC-F310IE-13U�
Label�
3257223-1�
2�
P103-1, P103-2�
�
�
DKC-F310IE-13UP�
Label (FCC)�
3183097-1�
1�
�
�
�
�
Dummy Plate�
5500112-1�
1�
�
�
�
�
Nameplate�
3252541-1�
1�
For DKC-F310IE-13U�
�
�
�
�
3254783-1�
�
For DKC-F310IE-13UP�
�






3.23.2 Flowchart





(1)  Remove the Covers.


(


(2)  Remove the Power Cable Unit.


(


(3) Remove the DKC AC Boxes.


(


(4)  Change the Dummy Plate.


(


(5)  Remove the Nameplate and Labels





�
3.23.3 Installation Procedure of Phase Conversion Kit (1((3()


1. Remove the Covers.


a.	Remove the Front Logic Box cover from the Front Logic Box.  Refer to page INST03-20 in the Installation Section in the main volume.


b.	Loosen the two screws and remove the cable duct cover.





�EMBED Word.Picture.6���


Fig. 3.23.3-1 Removal of Cable Duct Cover





2. Remove the Power Cable Unit.


a. Open the two repeat binders.


b. Loosen the four screws and remove the terminal block covers.


c. Remove the six screws and remove the AC power cables from DKC AC Boxes. 


d. Attach the terminal block covers to DKC AC Boxes and fasten the four screws.


�EMBED Word.Picture.6���


Fig. 3.23.3-2  Removal of AC Power Cables


�
e. Loosen the three screws and remove the Power Cable Unit.


� EMBED Word.Picture.6  ���


Fig. 3.23.3-3  Removal of Power Cable Unit





3. Remove the DKC AC Boxes.


a. Disconnect the cables (P250-1 and P250-2) from the DKC AC Boxes.





�EMBED Word.Picture.6���


Fig. 3.23.3-4  Disconnection of Cables





�
b. Remove the six screws from DKC AC Boxes.





�EMBED Word.Picture.6���


Fig. 3.23.3-5  Removal of Screws





c. Remove the two DKC AC Boxes from the AC Box base.





�EMBED Word.Picture.6���


Fig. 3.23.3-6  Removal of DKC AC Boxes





�
d. Loosen the screw( and remove the two screws (.  Remove the AC Box base.





�EMBED Word.Picture.6���


Fig. 3.23.3-7  Removal of AC Box Base





�
e. Remove the two repeat binder from the AC Box base.  Remove the four screws and the AC Box cover from AC Box base.





�EMBED Word.Picture.6���


Fig. 3.23.3-8  Removal of AC Box Cover





f. Remove the old labels from the cables and attach the new labels.





�EMBED Word.Picture.6���


Fig. 3.23.3-9  Exchange of Labels





�
4. Change the Dummy Plate.


a. Open the repeat binder.  Remove the four screws and the dummy plate (AC).


b. Remove the edging bush.





� EMBED Word.Picture.6  ���


Fig. 3.23.3-10  Removal of Dummy Plate








c. Remove the repeat binder from the dummy plate(AC).





�EMBED Word.Picture.6���


Fig. 3.23.3-11  Removal of Repeat Binder





�
d. Remove the AC cable from the cable duct.  Remove the three repeat binders.





� EMBED Word.Picture.6  ���


Fig. 3.23.3-12  Removal of AC Cable





e. Attach the dummy plate with the four screws.


�EMBED Word.Picture.6���


Fig. 3.23.3-13  Removal of Dummy Plate








�
f. Insert the AC Cables to the cable duct.





�EMBED Word.Picture.6���


Fig. 3.23.3-14  Insertion of AC Cable





g. Bind the AC cable (P103-1 and P103-2) with the repeat binder.





�EMBED Word.Picture.6���


Fig. 3.23.3-15  Binding of AC Cable





�
5. Remove the Nameplate and Labels


a. Remove the Caution labels ( through (.


b. Remove the nameplate and attach the new nameplate.





� EMBED Word.Picture.6  ���


Fig. 3.23.3-16  Attachment of Caution Labels





c. Remove the labels.





DKC-F310IU-31U/31UP


c-1 Remove the label (IN) and label (CE).





DKC-F310IE-31U/31UP


c-1 Remove the label (FCC).





� EMBED Word.Picture.6  ���


Fig. 3.23.3-17  Removal of Labels





�
d. Attach the cable duct cover and fasten the two screws.  Refer to Fig. 3.23.3-1.





e. Attach the Front Logic Box cover to the Front Logic Box.  Refer to page INST03-20 in the Installation Section in the main volume.





	K6602078-





REV.0�
Jul.1999�
�
�
�
�
�
�
Copyright ©1999, Hitachi, Ltd.


INST03T-�page �90�0





REV.0�
Jul.1999�
�
�
�
�
�
�
Copyright ©1999, Hitachi, Ltd.


INST03T-�page �91�0





REV.0�
Jul.1999�
�
�
�
�
�
�
Copyright ©1999, Hitachi, Ltd.


INST03T-�page �97�0





REV.0�
Jul.1999�
�
�
�
�
�
�
Copyright ©1999, Hitachi, Ltd.


INST03T-�page �975�














