## Course outline design
Course Name | HCIA-Data Center Facility
Learning Duration | 5days
Learning Form | Theory teaching
Deliverable List | HCIA-Data Center Facility V2.0 Training Outline HCIA-Data Center Facility V2.0 Exam Outline HCIA-Data Center Facility V2.0 Training Materials HCIA-Data Center Facility V2.0 Mock Test HCIA-Data Center Facility V2.0 Timetable HCIA-Data Center Facility V2.0 Change Instructions
Training Objectives | Train and certify engineers with basic deployment and O&M capabilities in the data center facility field.
Trainee | Persons interested in data center infrastructure; Employees who want to become junior data center implementation engineers and junior data center infrastructure management and O M engineers
Enablement plan
Textbook maintenance personnel
Lab environment maintenance personnel
Remarks

## Slide design
No | Slide Name | Slide Content | Recommended Duration（H）
1 | EHS Introduction | Importance of EHS training, causes of common work accidents, and how to do appropriate protection work. | 1.5
2 | Data Center Facility Knowledge | This chapter describes the development history, main components, common standards, and common energy consumption performance indicators of the data center infrastructure. | 3
3 | Basic Knowledge of Power Distribution | Overview of the power distribution system, basic concepts of power distribution, common low-voltage electrical equipment, and common grounding system | 3
4 | Basic Knowledge of UPS | This chapter describes the basic knowledge of the UPS, including its functions, working principles, common system configurations, and application scenarios. | 3
5 | Basic Knowledge of Huawei DC Power Systems | Architecture, composition, battery management logic, and application scenarios of Huawei DC power supply . Introduction to Huawei DC Power Supply Product | 1.5
6 | Basic Knowledge of Batteries | Battery definition, functions, classification, and naming, structure and working principle of lead-acid and lithium-ion batteries, and feature comparison between lead-acid and lithium-ion batteries | 4.5
7 | Air Conditioning System Introduction | This chapter describes the principles, classification, air handling equipment, air conditioning system, and common terms of air conditioning. | 3
8 | Basic Knowledge of Precison Air Conditioners in Data Centers | This chapter describes the basic knowledge of precision air conditioners in data centers, the technical principles and main components of air cooling, chilled water, and indirect evaporative cooling, and the cooling modes of Huawei precision air conditioners and other equipment rooms. | 4.5
9 | Basic Knowledge of Monitoring Systems | Basic knowledge about the monitoring system architecture and application scenarios, basic interfaces, communication protocols, software and hardware architectures, implementation methods of the data center monitoring system | 1.5
10 | Functions and Features of Monitoring Systems | Hierarchical deployment and features of the monitoring system, main functions of the data center monitoring system, and key points of Huawei monitoring system | 1.5
11 | Introduction to Other Systems of Data Center Facility | Fire extinguishing system, fresh air system, cabinet system, surge protection and grounding system, integrated cabling system, and decoration system | 3

## 实验设计 (hidden)
实验场景 | 实验章节 | 实验内容 | 建议时长（H）

## Slide instructional design
Slide Name | Section | Knowledge Points | Interaction Point Design | Recommended Duration（H）
EHS Introduction | Introduction to EHS | Concept and Function of EHS | Interaction before class：Have you accepted the EHS introduction of your company? What kind of introduction? | 1.5
| Accident Probability and Personnel Qualification | Heinrich's Law; Adequate preparation to reduce fatal errors; Qualifications of construction personnel
| PPE Protection Overview | Definition, Functions, and Classification of PPE Protection
| Engineering Construction Safety | General safety, transportation safety, mechanical safety, electrical safety, battery safety, and air conditioner safety | Interaction before class：Have you heard of or experienced any safety accidents during construction? What's the cause?
Data Center Facility Knowledge | Introduction to Data Center Development | Data center development history in China and the world,Data center infrastructure development trend and data center lifecycle | Interaction before class：What new technologies can be applied to data centers to promote data centers? | 3
| Composition of Data Center Infrastructure | Eight components of the data center infrastructure, power supply system, cooling system, and monitoring system | Interaction before class：What should be considered when designing and building a data center?
| Introduction to Data Center Standards | Code for design of data centers、Tier标准、TIA-942标准、其他标准
| Common Energy Consumption Indicators | PUE、pPUE、CLF/PLF、RER
| Panorama of Huawei Data Center Solutions | Indoor/outdoor data center, NetEco, UPS, and air conditioner | Interaction during class：Video：Introduction to Huawei Data Center Facility Solution
Basic Knowledge of Power Distribution | Power Distribution System Overview | Definition, functions, and application scenarios of the low-voltage power distribution system | Interaction before class: can you describe what equipments are included in the power distribution system? | 3
| Basic Concepts of the Power Distribution System | Common concepts of the power distribution system, such as voltage, power supply, and power quality
| Common low-voltage power distribution equipment | Functions and characteristics of Primary Equipment in Low Voltage Distribution System | Interaction after class : there are many control devices, such as circuit breakers, disconnectors and fuses. What scenarios are they applied to?
| Common low-voltage power distribution equipment | Functions and characteristics of Primary Equipment in Low Voltage Distribution System | Interaction before class: what are the common transformer brands?
| Common Grounding System | Composition, Classification and Characteristics of Grounding Systems | Interaction before class: what are common grounding systems in data centers? Why this one?
Basic Knowledge of UPS | What Is a UPS | What is the UPS, its components and functions, common working modes, and key parameters | Interaction before class：What kind of UPS have you seen? Which brands? | 3
| Huawei UPS Solutions | Huawei UPS Products and Features
| Common Configuration Solutions | Advantages and Disadvantages of N, N+1, and Dual-Bus Systems | Interaction after class：What standards do UPS configurations correspond to?
| Typical Application Scenarios | Load types and application scenarios of Huawei UPSs | Interaction after class：What is the UPS usage in the project? Has a fault occurred? What is the load rate?
Basic Knowledge of Huawei DC Power Systems | Overview | Functions and application scenarios of the DC power supply | Interaction before class: what is the difference between direct current and alternating current? | 1.5
| Architecture and Composition | Physical Architecture and Working Principles of Huawei DC Power Modules | Interaction before class: what is the working logic of DC power supply?
| Battery management logic | Battery control logic
Basic Knowledge of Batteries | Battery Overview | Development history, classification, naming rules, and common parameters of batteries | Interaction before class: what batteries are used in recent projects? What brand? | 4.5
| Lead-acid battery | The meaning, characteristics, main structure and working principle of lead-acid battery | Interaction after class: what measures will lead to the shortening of lead-acid battery life?
| Lead-acid battery | The meaning, characteristics, main structure and working principle of lead-acid battery | Interaction after class: how to deal with battery electrolyte leakage?
| Lithium ion battery | The meaning, characteristics, main structure and working principle of lithium ion battery | Interaction before class: have you ever used lithium ion battery products in your daily life?
| Lead-acid VS Lithium Battery | Comparison of characteristics between lead acid battery and lithium ion battery | Interaction before class: what are the effects of high temperature and low temperature on lead-acid battery and lithium-ion battery respectively?
Air Conditioning System Introduction | Working Principles of Air Conditioning System | Development history of air conditioners, what is air conditioners, air conditioner cooling process, major changes in the cooling process, and four main components of the air conditioner system | Discussion before class：How does the air conditioner transfer heat? | 3
| Classification of Air Conditioning System | By use, by cooling mode, by other use | Interaction before class：Besides our usual domestic air conditioners, what kind of air conditioners do you know?
| Air Handling Equipment | Direct/Indirect contact processing equipment, humidifier, dehumidifier
| Air Conditioning Air System | Functions of the air system, different organization modes of airflow, and air vents used by the air conditioning system
| Common Air Conditioner Terms | Cooling capacity, power consumption, energy efficiency ratio, refrigerant, circulating air volume, sensible heat ratio, temperature, humidity, dew point temperature, cleanness, and pressure | Interaction during class：Why does the air conditioner generate condensate water?
Basic Knowledge of Precision Air Conditioners in Data Centers | Overview of Data Center Air Conditioners | Why air conditioners are used in data centers, why precision air conditioners are used, application scenarios of air conditioners in data centers, and classification by terminal layout, cooling, and airflow organization | Interaction before class：What happens if air conditioners are not used in the data center? | 4.5
| Air-Cooled Precision Air Conditioner | Basic principles, features of air-cooled direct expansion air conditioners and water-cooled direct expansion air conditioners, component structure diagram, and main components
| Chilled Water Precision Air Conditioner | Basic principles, air-cooled chilled water and water-cooled chilled water air conditioner features, water-cooled air conditioner component structure, and main components | Interaction after class：What are the differences between chilled water air conditioners and air-cooled air conditioners?
| Indirect Evaporative Cooling Air Conditioner | Evaporative cooling and indirect evaporative cooling principle, working mode, structure diagram of indirect evaporative cooling components, and main components | Interaction after class：Where do you think the indirect evaporative cooling system can be used?
| Other Cooling Solutions for Equipment Rooms | Refrigerant Pump Cooling Technology, wind wall cooling technology, heat pipe backplane air conditioner, liquid cooling technology | Interaction after class：What else do you know about refrigeration?
| Introduction to Huawei Air Conditioners | Introduction to Huawei Precision Air Conditioner Series Products, Outdoor Unit Models, and Main Functions
Basic Knowledge of Monitoring Systems | Monitoring System Overview | Monitoring system architecture, monitoring objects, application scenarios, development trend | Interaction before class: which parts of the monitoring system of the data center consist of? | 1.5
| Basic Interfaces and Communication Protocols | Common communication interface, transmission mode, communication protocol and their area别 | Interaction before class: what are communication interfaces in data center devices?
| Data center monitoring system | Architecture and implementation of data center monitoring system | Interaction before class: how does the monitoring system realize monitoring data center facility?
Functions and Features of Monitoring Systems | Monitoring System Overview | Multi level architecture and characteristics of monitoring system | Interaction before class: what are the features of the monitoring system in the modular data center? | 1.5
| Main Functions | Main functions of industry unified monitoring system | Interaction before class: what functions should the monitoring system of data center have?
| Huawei monitoring system | Hardware architecture and main features of Huawei monitoring system
Introduction to Other Systems of Data Center Facility | Fire Protection System | Functions and classifications of the fire extinguishing system, main components, and components of the fire extinguishing system | Animated demonstration of the fire extinguishing system in the equipment room： https://haokan.baidu.com/v?vid=10546521195370787855&pd=bjh&fr=bjhauthor&type=video | 3
| Fresh Air System | Composition and functions of the fresh air system, and main components and functions of the fresh air system | Interaction after class：Is fresh air required after the precision air conditioner is deployed?
| Cabinet System | Overview of the Cabinet System and How to Select a Cabinet
| Lightning Protection and Grounding System | Lightning and its harm, basic form of lightning overvoltage, lightning protection device, grounding device
| Integrated Cabling System | Features and subsystems of integrated cabling and integrated cabling in data centers
| Indoor Decoration System | Antistatic raised floor decoration, ceiling decoration, partition decoration, and shielding system | Interaction before class：What do you notice when decorating your home? What is the difference between home decoration and data center decoration?

## 实验教学设计 (hidden)
实验手册名称 | 章节 | 内容 | 匹配的客户业务实操场景（H）
要求如下：
以章节为单位，设置思考题，目的在于加强知识点的理解和互动。
思考题内容可以是操作注意事项，操作产生的影响，关联业务场景等。
思考题后，需有参考答案，讲师在引导学员思考后需要进行点评。

## 前置学习(各选型说明与样例) (hidden)
《目标达成与业务改进 》学习项目详细设计
序号 | 模块 | 教学内容 (课程章节) | 时长 （分钟） | 开场导入 | 精讲
第一天课程安排（8:30—12:00,14:00—17:40）
1 | 开班 |  | 10
| 导入 |  | 40
10
2 |  |  | 30
10
5
15
10
| ICT行业趋势与新业务运营分享 |  | 30
50
10
| 差距识别与根因分析 |  | 40
20
10
10
80
60
第二天课程安排（8:30-12:00；14:00-17:30）
10
| 差距识别与根因分析 |  | 60
60
10
| 解决方案制定 |  | 30
50
10
60
60
10
60
10
第三天课程安排（9:00-12:00；14:00-17:00）
10
| 行动计划与执行管理 |  | 10
15
10
60
10
60
| 成果验收 |  | 70
80
20
10

## 精讲(各选型说明与样例) (hidden)
教学活动名称 | 概念要点 | 学习目标（结果） |  |  | 学习目标（过程）
|  | K | A | S | 参与性 | 互动性 | 应用性
精讲 | •单向讲授 | 理解概念、原理、模型等知识 | 传递知识背后的理念或观点，启发意识 |  | 很低 | 很低 | 很低
•内容相对固定
•耗时短
分类 | 输入 |  | 教学过程 |  |  | 过程支持 | 活动输出
理论/方法精讲 理论/方法： ·经过高度提炼和总结 ·经过实践检验 ·业界有共识 | 关键概念（what） 通用、准确、简练、易懂 特点及容易混淆的理解 举例 核心原理（why） 假设/来源/沿革 准确、简练、易懂 举例 原则/要点（why/how） 利弊分析 这样做如何，不这样做会如何 方法/步骤（how） 简单切实有效 输入输出关系 使用者视角 举例 |  | 1、讲解： 清楚地用通俗与语言讲解，不要用专业术语、不要就理论讲理论 胶片作为辅助，不要读胶片 2、提问： 根据学员反应进行提问及个人分享 确认学员的理解情况 3、答疑 适当停顿，征求学员的问题并给予回答 4、总结 |  |  | 1、挂图等 2、视频等 3、班主任记录答疑环节学员的问题及老师的回答 | 学员对“概念、原理、原则、要点、方法步骤”有相对准确、清晰、一致的理解