HCIE-Data Center Facility Design V1.0 Instructions

| Version | Date | Instruction |
| --- | --- | --- |
| V1.0 | 2020/12/31 | Enable V1.0 training materials, lab guidebooks and exam questions |

This document is applicable to the version refreshed certification product. It is used to compare the new and old version of the training materials, lab manuals and detailed changes of the test. It is necessary to specify the contents of the addition, deletion or optimization of the knowledge points and their proportions.

- Training material instructions

| Chapter | V1.0 | Instructions |
| --- | --- | --- |
| - Data Center Facility Consultation and Planning Guide | 13% | Data Center planning process Data Center evaluation model Site selection report Feasibility study |
| - Overview of Data Center Power Distribution System Planning and Design | 8% | Data Center power distribution system planning and design Requirement analysis of the Data Center power distribution system Data Center power distribution system capacity statistics |
| - Data Center UPS System Planning | 6% | Data Center UPS system components Data Center UPS planning preparations UPS networking mode Single UPS capacity configuration UPS device selection Battery configuration |
| - Data Center Low-Voltage Power Distribution System Planning | 6% | Components of the low-voltage power distribution system Planning and preparations for the low-voltage power Distribution System of the Data Center Power supply solution selection Low-voltage electrical appliance selection Power distribution cabinet configuration Conductor selection |
| - Data Center Diesel Generator System Planning | 5% | Components of the D.G. system Data Center D.G. system planning preparations Selection of the D.G. networking mode D.G. set selection D.G. set capacity configuration D.G. fuel tank capacity configuration |
| - Solution Analysis for the Data Center Power Distribution System | 5% | Typical DC Power distribution system solution Analysis of typical power distribution system solutions |
| - Data Center Power Distribution Solution Optimization | 4% | Reliability analysis of the Data Center power supply solution Data Center power supply solution optimization and reconstruction |
| - Data Center Cooling System Planning | 9% | Data Center cooling system planning and design overview Data Center cooling system planning process Data Center cooling system requirement planning Data Center cooling system planning |
| - Load Calculation and Air Conditioner Configuration for Data Center Cooling System | 9% | Load types and control requirements of the cooling system Calculating and estimating the cooling load IT load calculation description and selection Configuration principles and selection of the Cooling system terminals Layout and planning of the cooling system terminals Air supply mode and selection of the cooling system |
| - Data Center Chilled Water Air Conditioning System Configuration | 7% | Chilled water air conditioner planning overview Classification of chilled water systems for air conditioners Calculation and selection of chilled water units Calculation and selection of chilled water pumps Configuration of the air conditioner water system Cooling water system overview Cooling tower configuration selection Cooling water pump configuration selection |
| - Energy-Saving Solution Configuration for Data Center Cooling Systems | 6% | Configuration of the natural cooling solution Water-side natural cooling solution Indirect evaporative cooling solution configuration Configuration of the continuous cooling solution Configuration cases of the cooling system |
| - Cooling System Load Calculation and Configuration Solution Scenario-based Training | 6% | Cooling load estimation method of the cooling system Configuration principles of the terminal air conditioners Output of the configuration solution of the terminal air conditioners Selection and determination of chilled water system Chilled water system device selection and solution optimization |
| - DCIM System Planning Overview | 4% | DCIM overview Relationship between the DCIM system and the power and environment system, BMS, and ITSM DCIM development trend DCIM planning process |
| - DCIM System Architecture and Functions | 4% | DCIM Hardware Architecture Logical architecture and functions of the DCIM DCIM system performance and integration |
| - DCIM System Planning | 8% | DCIM planning requirement analysis DCIM system architecture planning DCIM system function selection DCIM system device selection |

- Test content instructions

| Chapter/Version | The percentage of written test | The percentage of lab test | The percentage of interview test |
| --- | --- | --- | --- |
|  | V1.0 | V1.0 | V1.0 |
| Data Center Facility Consultation and Planning Guide | 15% | 17% | 12% |
| Overview of Data Center Power Distribution System Planning and Design | 7% | 5% | 12% |
| Data Center UPS System Planning | 7% | 10% | 10% |
| Data Center Low-Voltage Power Distribution System Planning | 4% | 8% | 8% |
| Data Center Diesel Generator System Planning | 4% | 3% | 4% |
| Solution Analysis for the Data Center Power Distribution System | 7% | 3% | 4% |
| Data Center Power Distribution Solution Optimization | 5% | 3% | 4% |
| Data Center Cooling System Planning | 6% | 2% | 4% |
| Load Calculation and Air Conditioner Configuration for Data Center Cooling System | 10% | 10% | 4% |
| Data Center Chilled Water Air Conditioning System Configuration | 11% | 10% | 14% |
| Energy-Saving Solution Configuration for Data Center Cooling Systems | 7% | 4% | 6% |
| Cooling System Load Calculation and Configuration Solution Scenario-based Training | 3% | 7% | 4% |
| DCIM System Planning Overview | 3% | 2% | 2% |
| DCIM System Architecture and Functions | 6% | 7% | 6% |
| DCIM System Planning | 5% | 8% | 4% |